Fredrik Iredahl

Background: Exudative wounds cause discomfort for patients. Introduction of a

moisture sensor to dressings could facilitate change of dressings only when needed.

The aim of this pilot study was to evaluate the ability of a newly developed moisture

sensor to detect moisture in relation to the absorbing capacity of the dressing.

Materials and Methods: In five patients, with one leg ulcer each, three dressing

changes per patient were observed. Interval of dressing change was according to clinical

need and healthcare professional's decision. Sensor activation, dressing weight

and complications were registered. To investigate the effect of dressing on sensor

activation, half of the observations were made without an extra layer of non-woven

between the dressing and sensor (Variant A), and half with (Variant B).

Results: The sensor indicated time for dressing change in six out of fifteen observations.

Variants A and B did not differ regarding activation or the timing of the

activation.

Conclusions: The addition of a moisture sensor for facilitating management of exudative

wounds is promising. We recommend future larger studies evaluating the

potential clinical benefits and risks of the addition of a moisture sensor. We also recommend

evaluation of potential home monitoring of wounds by a moisture sensor.

Samt min avhandling ” Assessment of microvascular and metabolic responses in the skin”

Abstract: The general aim of this project was to develop experimental in vivo models that allow for minimally invasive investigations of responses in the skin to microvascular and metabolic provocations. The cutaneous microvasculature has emerged as a valuable model and been proposed to mirror the microcirculation in other organs. Dysfunction in the cutaneous microcirculation has thus been linked to systemic diseases such as hypertension and diabetes mellitus. Models for investigating skin responses could facilitate the understanding of pathophysiological mechanisms as well as effects of drugs.In the first study, three optical measurement techniques (laser Doppler flowmetry (LDF), laser speckle contrast imaging (LSCI) and tissue viability imaging (TiVi)) were compared against each other and showed differences in their ability to detect microvascular responses to provocations in the skin. TiVi was found more sensitive for measurement of noradrenaline-induced vasoconstriction, while LSCI was more sensitive for measurement of vascular occlusion. In the second study, microvascular responses in the skin to iontophoresis of vasoactive drugs were found to depend on the drug delivery protocol. Perfusion half-life was defined and used to describe the decay in the microvascular response to a drug after iontophoresis. In the third study, the role of nitric oxide (NO) was assessed during iontophoresis of insulin. The results showed a NO-dependent vasodilation in the skin by insulin. In the fourth study the vasoactive and metabolic effects of insulin were studied after both local and endogenous administration. Local delivery of insulin increased skin blood flow, paralleled by increased skin concentrations of interstitial pyruvate and lactate, although no change in glucose concentration was observed. An oral glucose load resulted in an increased insulin concentration in the skin paralleled by an increase in blood flow, as measured using the microdialysis urea clearance technique, although no changes in perfusion was measured by LSCI.The thesis concludes that when studying skin microvascular responses, the choice of measurement technique and the drug delivery protocol has an impact on the measurement results, and should therefore be carefully considered. The thesis also concludes that insulin has metabolic and vasodilatory effects in the skin both when administered locally and as an endogenous response to an oral glucose load. The vasodilatory effect of insulin in the skin is mediated by nitric oxide.